INTERNATIONAL BLUE CRESCENT RELIEF and DEVELOPMENT FOUNDATION (IBC)
Ref Project: Integrated Shelter and Accessibility Solutions for Conflict-Affected Households, Persons with Disabilities, and Veterans in Ukraine 
Funded by: UMCOR (United Methodist Committee on Relief)
Implemented by: International Blue Crescent Relief and Development Foundation (IBC)
Important Note to Bidders: To avoid issues such as typographical errors or illegible offers, please ensure that all financial figures in the forms are filled out electronically (typed) and are clearly readable. Before signing the form, carefully check all amounts for arithmetic accuracy and ensure there are no calculation errors.
Part B – OFFER FORM 
Tender Publication Date: 10/09/2025
Tender Reference: IDR 0525960IBC – 02 Assistive Equipment and Relief Dignity Kits
To be filled by Bidder (Compulsory)  
Details of Bidding Company
1. Company Name: ………………………………………………………………………………………………..
2. Company Authorized Representative Name: …………………………………………………..
3. Mailing Address: ………………………………………………………………………………………………..
4. Contact Numbers: ………………………………………………………………………………………………..

I, the undersigned, ……………………………………………………………………………………………… agree to supply IBC with the items as specified and accept all terms and conditions outlined in the tender documents.
Please complete the following table regarding the procurement and delivery of Lot 1 and Lot 2. It is strongly reminded that the table must be filled out electronically to avoid any typing and/or processing errors.

Lot 1: Assistive Equipment for Persons with Disabilities, Veterans, and the Elderly
	#
	Item
	Enhanced Technical Specification
	Unit Offer Price in USD

	1
	Manual Wheelchair (Standard)
	Foldable wheelchair with powder-coated steel or aluminum alloy frame, solid puncture-proof tires (24”), fixed or adjustable footrests, hand brakes, and cushioned seat/backrest. Suitable for adult users up to 100 kg.
	

	2
	Heavy-Duty Wheelchair
	Reinforced steel frame for bariatric use, foldable, with dual cross-brace, solid tires, padded armrests, extra-wide cushioned seat, and high backrest. Supports weight up to 150 kg.
	

	3
	Crutches (Adjustable)
	Made from lightweight anodized aluminum, height-adjustable in 1-inch increments, slip-resistant rubber tips, available in elbow or underarm type depending on user need. Max user weight: 120 kg.
	

	4
	Walker (With Wheels)
	Lightweight aluminum frame, foldable design, front 5” wheels with rear rubber tips, ergonomic hand grips, adjustable height (typically 76–93 cm), and optional seat.
	

	5
	Walking Cane
	Height-adjustable (75–95 cm), made of anodized aluminum or lightweight steel, non-slip rubber tip, contoured ergonomic handle, suitable for both right- and left-handed users.
	

	6
	Commode Chair
	Portable toilet chair with powder-coated or chrome-plated steel/aluminum frame, removable plastic bucket, folding design, padded armrests, and backrest. Max capacity: 100–120 kg.
	

	7
	Orthopaedical Support (Back/Neck/Knee)
	Elastic or neoprene brace for orthopedic support, anatomical design, various sizes (S–XXL), adjustable Velcro straps, breathable and washable fabric.
	

	8
	Adult Diapers (Incontinence)
	High-absorption capacity (up to 2,500 ml), leak guards, breathable side panels, odor control, wetness indicator, available in M, L, XL sizes. Dermatologically tested.
	

	9
	Hearing Amplifier Device
	Behind-the-ear digital hearing amplifier, rechargeable via USB, 4+ volume levels, frequency range: 300–4,000 Hz, noise reduction technology, includes extra ear domes.
	

	10
	Visual Alert Device (Doorbell/Alarm)
	Battery-operated system with LED strobe light or vibrating receiver, wireless connection up to 100 m, compatible with smoke detectors or doorbells.
	

	11
	Anti-decubitus Air Mattress
	Alternating pressure air mattress with 18+ air cells, adjustable pressure pump, waterproof PVC material, supports up to 120 kg, designed to prevent pressure ulcers.
	

	12
	Adjustable Manual Wheelchair
	Wheelchair with adjustable seat height (42–50 cm), reclining backrest, adjustable footrest angle, removable armrests. Foldable steel frame, weight capacity: 120 kg.
	

	13
	Adult Incontinence Diapers (Night Use)
	Extra-thick absorbent core, leak-proof barriers, wetness indicator, hypoallergenic, breathable outer layer, optimized for overnight use. Sizes: M–XL.
	

	14
	Commode Chair (Secondary)
	Alternate model with tilting backrest, swing-away armrests, height-adjustable legs, durable stainless-steel or epoxy-coated frame. Includes anti-slip ferrules.
	

	15
	Patient Lifting Hoist (Manual Type)
	Hydraulic/manual lift with adjustable base width, rotating handle, rear locking wheels, sling compatibility (4-point spreader bar). Safe working load: 150 kg.
	

	16
	Waterproof Bed Pads
	Reusable or disposable pads (90x60 cm), 4-layer protection, quilted top layer, moisture-wicking, waterproof PVC/PE backing. Machine washable (reusable version).
	

	17
	Walker with Wheels (Alternate)
	Lightweight anodized aluminum, dual front wheels (5-8”), rear glides, hand brakes, foldable with one-hand mechanism, height adjustable, with optional seat.
	

	18
	White Cane (Foldable)
	Lightweight aluminum, collapsible in 4-5 sections, red reflective bottom, elastic cord inside, textured grip handle, wrist strap, rubber tip. Length: 110–140 cm.
	

	19
	Crutches (Elbow/Underarm Adjustable)
	Reinforced aluminum or steel frame, contoured hand grips, non-slip base, adjustable forearm/axillary support, height adjustability 95–120 cm. Weight capacity: up to 120 kg.
Formun Üstü
Formun Altı
	

	Unit Offer Price Total in USD
	


















Lot 2: Procurement of Relief Dignity Kits
	
	
Content 1: Adult Hygiene Items
	
	

	#
	Item
	Technical Specification
	Quantity per Kit
	Unit Offer Price in USD

	1
	Body and Hair Shampoo
	100-150g, lightly scented or unscented, skin-friendly, biodegradable
	1
	

	2
	Toothbrush
	Medium or soft bristles, individually packed
	1
	

	3
	Toothpaste
	Min. 75ml, fluoride content 
	1
	

	4
	Sanitary pads
	Min. 10 pieces, high absorption, unscented, individually wrapped
	1 pack
	

	5
	Adult diapers
	Min. 5 pieces, available in different sizes (M, L, XL)
	1 pack
	

	6
	Underwear (M/F)
	2 pieces, cotton, various sizes
	2
	

	7
	Wet wipes
	Alcohol-free, resealable pack, min. 40 wipes
	1 pack
	

	8
	Towel
	100% cotton or microfiber, approx. 40x70 cm
	1
	

	9
	Nail clippers
	Stainless steel, standard size
	1
	

	10
	Comb
	Standard size, plastic, anti-static
	1
	

	Unit Offer Price Total in USD
	

	
	Content 2: Baby-Child Hygiene Items
	
	

	#
	Item
	Technical Specification
	Quantity per Kit
	Unit Offer Price in USD

	1
	Baby - Child diapers
	Min. 10 pieces, available in different sizes/months
	1 pack
	

	2
	Baby – child underwear
	2 pieces, cotton, various sizes
	2
	

	3
	Baby body and hair shampoo
	200ml, hypoallergenic, tear-free formula
	1
	

	4
	Baby wipes
	Alcohol-free, fragrance-free, for sensitive skin, resealable pack, min. 40 wipes
	1
	

	Unit Offer Price Total in USD
	

	
	
	
	
	 


For Bidder’s Use 
I undersigned ………………………………………………………………………………………………. the Bidder, agree with the instructions and general conditions of this Call for Tender.

Company Name: ……………………………………………………………………………………………….

Authorized Representative Name: ……………………………………………………………………………………………….

Signature:  ...………………………………………………………………………………………………………………………………….

Date: ……………………………………………………………………………………………….
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